PG II protein

| Catalog No. | Application |
| --- | --- |
| K3926 | Calibrator and quality control product |

| Source | Mammalian |
| --- | --- |
| Form | Clear and colorless liquid without flocculent precipitate |
| Purity | 90% as analysized by SDS-PAGE |
| Buffer | 1 × PBS, pH7.4 |
| Storage instructions | Upon delivery aliquot and store at -80℃(-112°F) for up to 3 years. Avoid freeze/thaw cycles. |